## Slide 1: Perspectives of Life Sciences at ALBA
Judith Juanhuix
on behalf of all Life Sciences staff
08.09.2022

## Slide 2: Biological imaging techniques today
cryo-3DSIM
Cellular Biology Interactomics Macromolecules
VLM
cryo-SXT
resolution
Multimodal imaging across resolution scales is essential to understand biological mechanisms.
1 Å
500 nm
5 nm
30 nm
sample thickness
cryo FIB-SEM
5 µm
µPCXT
µFTIR
cryo-ET
CryoEM-SPA
Tissue
Organoids
nanoXRF
cryo-SR
nanoPCXT
MX
BioSAXS
NMR
subPCXT
subXRF
Slide: Eva Pereiro
(from images to structure + chemistry + function)
Notes: Lab-grown mouse mammary gland imaged by 3D confocal (Dr. Harris Univ. Cambridge)

## Slide 3: Biological imaging techniques at ALBA today
cryo-3DSIM
VLM
cryo-SXT
resolution
Multimodal imaging across resolution scales is essential to understand biological mechanisms.
1 Å
500 nm
5 nm
30 nm
sample thickness
cryo FIB-SEM
5 µm
µPCXT
µFTIR
cryo-ET
CryoEM-SPA
nanoXRF
cryo-SR
operational
in development
not in Alba
nanoPCXT
MX
BioSAXS
NMR
subPCXT
subXRF
Slide: Eva Pereiro
Cellular Biology Interactomics Macromolecules
Tissue
Organoids
Notes: Lab-grown mouse mammary gland imaged by 3D confocal (Dr. Harris Univ. Cambridge)

## Slide 4: Biological imaging techniques at ALBA today
XALOC (MX)
NCD-SWEET
(SAXS)
XAIRA (mMX)
CryoEM-SPA
MIRAS (IR)
MISTRAL (TXM)
FAXTOR (PCXT)
Macromol
biology
Cellular
biology
In
construction
Residual
use
cryo-3D SIM

## Slide 5: MISTRAL: Transmission X-ray Microscope
TXM (Transmission X-ray Microscope) capability :
  2D Measured Spatial Resolution ≈ 30 nm half pitch.
  Detector effective Pixel size 16 nm – 8 nm, Field of view 8x8 µm2 - 16x16 µm2.
  Cryo environment ( ≈ 110 K).
  On-line visible light epifluorescence microscope for correlative low resolution 2D imaging.
Available techniques for bio-samples (with 30 nm spatial resolution):
  Cryo – soft X-ray Tomography (± 70◦ max angular range, typical acquisition time ≈ 5 -10 min.).
  Cryo – X-ray Spectromicroscopy (from Ca L – edge).
CCD
sample
capillary condenser lens
central stop
objective zone plate lens
(40nm and 25 nm ZP)
Slide: Andrea Sorrentino

## Slide 6: MISTRAL: ultrastructure of HVC infected cells
Hepatitis C infection
Assessment of the reversion of HCV-induced cellular ultrastructural changes direct-acting antiviral drugs
AJ Pérez-Berná, E Pereiro, P Gastaminza
ACS Nano 2016

## Slide 7: MISTRAL: ultrastructure of SARS-CoV-2 infected cells
7
3D reconstruction:
Transparent volumes: vesicles where the replicating complexes are formed.
Blue volumes: the SARS-CoV2 virus
Morphology of adenocarcinomic human alveolar basal epithelial cell (A549) infected with SARS-CoV-2
SARS-CoV-2 Intracellular
viral particles
Morphological dysfunction
with abnormal mitochondria
SARS-CoV-2 viral factory
Late state
of infection
Early state
of infection
Evolution of cells during infection can be studied
AJ Pérez-Berná, P. Gastaminza group (CNB-CSIC)

## Slide 8: Cell biology at MISTRAL
Cancer research
Chemotherapy
hyperthermia in tumor cells
Mitochondrial dysfunction
Chromatin expression
38%
19%
5%
Immune systems
Cholesterol
T-Cell Migration
T-Cell interaction with pathogens
Primary T-cells
10%
Pathogens
HCV
Zika
Mycoplasma
SARS-CoV-2
Plasmodium Falciparum
Babesia divergens
Herpes
Torovirus
Vaccinia
Bio mineralization
Cholesterol
Calcium
Hydroxyapatite
21%
Alzheimer
E. Coli
SARS
Cytomegalovirus
Rotavirus
Trypanosome Brucei
Influenza
Mycoplasma
Nanoparticle:
hyperthermia in tumor cells
Gold coated siRNA
Anti-inflammatory events
Drug delivery
Nano liposomes
1%
Slide: Ana J. Pérez-Berná
+Gene Therapy
(Klaus talk)

## Slide 9: MISTRAL: experiment pipeline
Cell culture Platform
Vitrification Platform
Sample Screening at Cryo
MISTRAL Beamtime
Data Processing Support
Asistance during beamtime
1-15 days
4-5 hours
4-5 hours
Reconstruction
Manual aligment
Segmentation
Images
Guided
Data Processing
The accession gap to MISTRAL is being reduced by pipelines

## Slide 10
MISTRAL: 3D cryo SIM for CLXM
Identifying specific cellular structures
Follow processes
Evaluating cellular morphological changes
NIH-3T3 cells
2D X-ray
Mosaic
& SXT
2D X-ray
mosaic
Primary
fibroblats
3D SIM
& SXT
2D Mosaic
& 2D SIM
Groen et al.
Chem. Sci. 2021
Bridge between VLM and SR microscopies
at research centers/hospitals and STX at MISTRAL
Cryo 3D-SIM: visible light 3D super-resolution microscope in cryo conditions
100nm resolution
cryo 3D-SIM is correlated to cryo-SXT
Determination of the intracellular fate of a designed protein-nanomaterial hybrid that shows great promise in mitigating myocardial fibrosis

## Slide 11
5 µm
5 µm
1 µm
2 µm
JJ Conesa et al. Angew. Chem. (2020)
MISTRAL: correlative SXT and 3D-XRF experiments
Iridium half-sandwich complex is a potent anticancer agent but very cytotoxic.
By using 3D cryo soft X-ray and fluorescence tomographies on the same cryo-preserved cell, it is unambiguously localized and quantified in the cell mitochondria.
Knowing the intracellular fate of the compound is mandatory to rationalize its potency and improve metallodrug design.
TXM image and epifluorescence from
mitocondria (green)
Ir distribution from 2D XRF
a+b
In selected area, overlap of two reconstructed slices from the cryo-SXT and the XRF tomography
slices across the mitochondria from the cryo-SXT and the XRF

## Slide 12: MIRAS beamline: mFTIR
Detectors
50 µm HgCdTe (MCT) detector (10000-600 cm-1)
250 µm HgCdTe (MCT) detector (12000-550 cm-1)
64x64 Focal Plane Array (FPA) detector (4000 – 900 cm-1)
TE Cooled DLaTGS detector (12000-350 cm-1)
4.2 K Bolometer detector for Far-Infrared (10 – 660 cm-1)
Chemical and biochemical composition.
Resolution up to 3x3 µm².
Photon energy range : ~ 1.2 µm to 100 µm.
Vertex 70 Spectrometer
Hyperion 3000 Microscope
Sample
Entrance of the synchrotron light
Matching Unit
FPA detector
MCT detector
Bolometer
DLaTGS
Microscopy Beamline (imaging & spectroscopy).
For material sciences, biosciences, cultural heritage, food, environment.

## Slide 13
IR Spectra
Statistical analysis PCA, HCA, etc..
PCA
Loadings
IR Chemical imaging
High
Low
SR-FTIR spectrum of a biological sample
Low absorbance regions
High absorbance regions
V. Moner et al, AUSE, 2017
I. Martinez-Rovira et al, Analyst, 2020
I. Yousef et al, SRN, 2017
MIRAS: Data output

## Slide 14
Single cell analysis
Int. J. Mol. Sci. 2021 doi.org/10.3390/ijms22189937
Int. J. Mol. Sci. 2021 doi: 10.3390/ijms22105249
Tissue Analysis
Live cells chamber
50µm
VIS image
Proteins
Lipids
Ducic et al, Anal chem 1932, 2021
Fingerprint of the small anionic molecule Cobaltabis (dicarbollide) uptake in glioma stem cells
UV-induced cataractogenesis: UV effect on human anterior lens capsule macromolecular composition
Metabolic compounds in brain glioblastoma cell lines after Riluzole treatment
Live cells setup allows the real time observation of the biochemical rearrangements undergone in living cells upon treatments.
Possibility of a mail-in service for cryopreserved live cells, in which the research groups send the samples
MIRAS: types of biological samples

## Slide 15: Multimodal synchrotron-radiation approach combining FTIR, hard and soft X-ray microscopy on intact astrocytes from a rat model of Amyotrophic Lateral Sclerosis (ALS) disease
Ducic et al, Anal. Chem. 1460, 2019
15
MISTRAL+MIRAS: correlative SXT and SR-mFTIR experiments
Mutated Cu–Zn metallo-enzyme SOD1 is known to produce ALS
Cryo-TXM: large aggregates are formed and the number of mitochondria change
Cryo-XRF: Cellular Cu concentration
SR-mFTIR: Amount of antiparallel β-sheet structures, lipid localization and composition
Slide: Tanja Ducic

## Slide 16: FAXTOR: Phase-Contrast X-ray Tomography
Available techniques:
Propagation based imaging. (1-5 µm, 10-40 keV)
X-ray absorption imaging. (1-10 µm, 10-70 keV)
Grating interferometry
Time resolved radiography.
µ-Computed tomography (3D/4D).
land
Romano M. et al. Cancers, 2021.
Using µCT/µXRF/SAXS/WAXS
Stroebel J. et al. Sci. Rep, 2020.
Mittone A. et Al, JSR 2020.
Rack A. et al. Instruments, 2020.
Cartilage imaging (human plugs)
Rat livers
Neuroimaging – spinal cords
Rat brains
Notes: As techniques propagation based X-ray phase-contrast and absorption-based imaging will be used on a daily basis. Future extensions including differential phase-contrast imaging can be also foreseen. Different acquisition protocols will be available, from time resolved projection imaging, to static and time resolved computed tomography.

## Slide 17: FAXTOR: status
land
Source: 3-pole wiggler: Received, to be installed
Huches: to be installed fall 2022.
Optics: manufacturing. Optimized for stability, energy resolution
End station: in design phase
In-house design: choppers, precision tables
First users: end 2024
Notes: As techniques propagation based X-ray phase-contrast and absorption-based imaging will be used on a daily basis. Future extensions including differential phase-contrast imaging can be also foreseen. Different acquisition protocols will be available, from time resolved projection imaging, to static and time resolved computed tomography.

## Slide 18
Perspective: integrative approach
18
Transmission mode
Cell Culture
Microscope
Cells culture medium
Cryosectioning
Microscope on Cut-cross section
Embedding (paraffin)
FTIR transparent windows
~10µm thick sample (2D imaging)
SR-FTIR
MIRAS BL
Soft X-ray cryotomography
MISTRAL BL
X-ray Micro-tomography
FAXTOR BL
Cryo plunging
Vitrification
Fixing or freeze drying
2cm thick sample
Gold grids
Si3N4
Live cells (under evaluation/development)
Attenuated total reflection mode
Sample stage
Slide: Ibraheem Yousef

## Slide 19: XALOC: Macromolecular Crystallograhy
Success story
All MX Spanish groups are using XALOC
80% remote experiments
Screening: 20-30 crystals/hour
Data collection: 7-15 crystals/hour
Chart: Disk size of academic proposals (GB)
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Disk size of cbf images (GB) | 5346 | 13537 | 19768 | 18150 | 33455 | 40911 | 51404 | 39135
Chart: Academic requests and allocation
Allocated hours | 1152 | 1968 | 2736 | 2640 | 2976 | 2856 | 2760 | 3048 | 3000
Requested hours | 2632 | 1952 | 2936 | 2984 | 2680 | 3000 | 3792 | 4016 | 4080
790 PDB entries as per today
100

## Slide 20: XALOC - Upgrades
Scientific case is being redefined
  Going to high energies (up to 25-30 keV, need new optics)
  New scientific cases implemented:
Instrumentation upgrade
  New detector: 100 Hz, beg 2023
  New Sample changer: fast (20s), 20-30 samp/hour
  Completing crystallization platform
In situ diffraction (on plates)
  Allow taking still images for crystal test
  Positioning of the cristallization plate through the robot
  RASTER scan for plates
Jet-based serial crystallography (SSX) setup implemented

## Slide 21: XALOC – Jet-based serial crystallography
A High Viscosity Extrusion (HVE) injector has been implemented at XALOC for jet-based SSX
Already available
Just request it in the next call for proposals
Serial macromolecular crystallography at ALBA Synchrotron Light Source
Jose M. Martin-Garcia, …, X. Carpena
J. Synchrotron Rad. 29, 1130 (2022)
Kovalev et al, Nat Comm 11:2137 (2020).

## Slide 22: XAIRA: mMX - Scientific cases
Low Photon Energy
4-14 keV
Fixed target
serial crystallography
1×1 µm beam @ 1 Å
Optimal
native
Phasing
of m-crystals
(std mount)
Serial native-phasing crystallography
Low background
He chamber, beam tailoring
Optimal fixed target SX
Time resolved experiments
Wagner et al. (2016) Acta Cryst. D72: 430-439
Owen et al. (2017)
Acta Cryst. D73:373
Elemental
Deter
mination
BL Instrumentation
Beam features
Anomalous differences of the intensity DIE increase with small xtals and long l considering
fixed radiation dose
transmission
Chip for fixed-target SSX
m-MX

## Slide 23: XAIRA - Beamline Status
Schedule
First beam: 22 July 2022
EndStation Comm: Summer 2023
First experiments: End 2023
First beam
22 July 2022
Microfocus Macromolecular Crystallography
2.3m-long 19.9mm In-Vacuum Undulator
Beam size of 1 ×1 mm2 at 1 Å (full beam 3×1 mm2)
Beam defocusing up to 10×10 mm2
Energy range of 4–14 keV
Novel dual DMM+CC (Mo/B4C+Si111) mono concept
High flux (DMM) and High stability (CC)
Use of interferometers to monitor the optics
End station
He atmosphere at sample to increase I/sI - Low background experiments Compatible with standard, air operation
Fast pixel array detector: Eiger2 XE 9M (frame rates up to 1000Hz)
Automated sample mounting system ISARA2 (29 cryo pucks+3 RT pucks
Detectot test
6 July 2022
Mo/B4C ML
Si(111)

## Slide 24: XAIRA - Beamline Status
Optics Hutch installed
24
Horizontal prefocusing mirror
Dual Mono
ML+Si(111)
Horizontal sec. source slits
KB mirrors
In house vertical diff
Eiger2 XE 9M detector
Isara2 robot

## Slide 25: XAIRA - Program vision
Optimized fixed-target/oscillation crystallography on microcrystals
Poorly diffracting crystals
Native Phasing of microcrystals
  Optimal conditions for crystals in standard mounting (low background, long l).
  Multi-crystal approach available.
Time-resolved experiments
Rapid chemical mixing of reactants and microcrystals in microfluidic devices,
Time-resolved native phasing for reactions involving cations?
Refinement coupled with time-resolved WAXS.
Door to SFX at XFELS (using hubs)
Elemental analysis
Coupling with computational biology
  Experimental determination of anomalous sub-structure + Alphafold2 high-res structure
Neutze R. 2014 .Phil. Trans. R. Soc. B369:20130318

## Slide 26: CryoEM Platform at ALBA
JEMCA: Partnership to procure, install and run the CryoEM platform
Partners have different beamtime shares
ALBA share (15 + 9%) will be offered to users on the same basis as synchrotron beamlines beam time
Apoferritin map from CryoEM data at ALBA
User operation starting very soon!
Talk in this session by Pablo Guerra
Pablo Guerra, IBMB

## Slide 27: CryoEM Platform at ALBA
27
08/09/2022
27
Glacios Cryo-TEM
200 kV XFEG optics
Autoloader
Falcon 4 detector
Falcon 4 Direct Detector
Large pixel layout
High signal-to-noise ratio
Four times faster than predecessor
Vitrobot System
Cryo-EM sample preparation
EPU 2 Software
Single particle analysis software for sample screening and data acquisition.
Pablo Guerra, IBMB
27

## Slide 28: BioSAXS
28
28

## Slide 29: BioSAXS/CALIMA proposal – scientific cases
Batch mode SAXS
SAXS coupled to chromatography
Time-resolved SAXS
Fiber diffraction
3D scanning SAXS
nLC/MS SAXS
WAXS
Allosteric modulation of macromolecules
Intrinsically Disordered Proteins
Membrane proteins
Amyloid proteins
Domain swapping in diseases
Complex biological assemblies
RNA folding
Microtubules GTPase cycle
Bone arrangement
Brain connectivity
Skin damage
Polymers
29

## Slide 30: BioSAXS/CALIMA proposal – optical design
Bending magnet beamline (ALBA) and Superbend (ALBA II)
Fixed sample-to-detector & beamstop, q-range tuned by changing photon energy
2 optical setups:
  Large (standard): ~200-500 μm in size
    Double multilayer monochromator
    Focusing optics with a KB system
    Batch mode, SEC/IEC-SAXS, Fibre diffraction, nLC/MS-SAXS & WAXS
  Microfocus: ~10 μm in size
    Compound Refractive Lenses (CRLs) + Secondary Source Slit (SSS)
    TR-SAXS & 3DsSAXS
Experimental Hutch
Optical Hutch
Detector
Standard focus
secondary focusing
Sample
Microfocus
30

## Slide 31: BioSAXS/CALIMA proposal – beam characteristics
Flux at sample
 | ALBA (BM) | ALBA-II (superbend)
Standard mode (focus at detector) |  | 
Spot at sample position | 532×520 um2 176×198 urad2 | 532×590 um2 175×175 urad2
Spot at detector position | 174×76 um2 | 23×58 um2
Microfocus mode (focus at sample) |  | 
Spot at sample position | 37×15 um2 425×403 urad2 | 5.3×11 um2 428×425 urad2
Spot at detector position | 1.30×1.24 mm2 | 1.30×1.28 mm2
Gains in ALBA-II
Standard mode: better q resolution (smaller spot at detector)
Microfocus mode: gain x7 H, x40% V
Beam sizes and divergences
Standard mode: Very competitive with other existing BLs
Microfocus mode: unique capability in BioSAXS BM beamlines
31

## Slide 32: …and coupling computational biology with experiments
“Protein structural biology entered a new Era, where predictions will change and guide the way experiments will be designed and hypothesis will be tested” (Joana Pereira, ECM33)
But: “Predictions are exactly that and do not replace experiments”
Exploring generality of experimental conformational changes with AlphaFold predictions
  examine the experimental structures considering dynamics using predictions
Deep network-based synthetic “protein” design (shaping function?)
  Ex. Hallucinating protein assemblies
Need SDM, Methodology sections
Need collaborations/partnerships
32
Wicky, Courbet, Baker 2022 doi.org/10.1101/2022.06.09.493773
Castellví, Uson 2022
doi: 10.1101/2022.04.12.488086

## Slide 33: Biological imaging techniques at ALBA today
XALOC (MX)
XAIRA (mMX)
CryoEM-SPA
MIRAS (IR)
MISTRAL (TXM)
FAXTOR (PCXT)
Macromol
biology
Cellular
biology
In
construction
cryo-3D SIM
STXM
BioSAXS
Sub-mPCXT
CryoET
Cryo-FIB-SEM
+services
Computational
Biology
tools
Cryo-nanoXRF

## Slide 34
…hoping for future projects become reality
Thanks for attention
Thanks to all collaborators and ALBA people

## Slide 35
Eva Pereiro
Ana J. Pérez-Berná
Andrea Sorrentino
Ibraheem Yousef
Tanja Ducic
Martin Kreuzer
Roeland Boer
Fernando Gil
Xavi Carpena
Isidro Crespo
Albert Castellví
Damià Garriga
User Office
Nahikari González
Alejandro Crisol
Marta Llonch
Jon Ladrera
Alejandro Enrique
Ricardo Valcárcel
Marcos Quispe
Bernat Molas
Steven Wohl
Jordi Andreu
Carles Colldelram
Josep Nicolás
Igors Sics
Pablo Guerra
Núria Verdaguer
Alberto Mittone
Alberto Mittone
Engineering
MISTRAL
EM
XAIRA
OPTICS
MISTRAL
FAXTOR
Fulvio Becheri
Controls
Electronics
Jose Ferrer
Jan Groen
XALOC

## Slide 36
control
HCV replicating cells
lipids
amide I
oxidation
cryo-SXT
Pérez-Berná et al. (in press)
MISTRAL: correlative SXT and SR-mFTIR experiments

## Slide 37: MIRAS BL (FTIR) Current work on Alzheimer disease
Synchrotron X-ray Fluorescence and FTIR signatures for Amyloid Fibrillary and non-fibrillary Plaques.
Álvarez-Marimon et al., ACS Chem. Neurosci. 2021
37

## Slide 38
Correlative microscopies
Goal obtain complementary information on the same sample
Requirements
  non-destructive techniques
  correlative approaches at similar resolution with same sample support
  registration/fiducialisation of datasets needed in 2D and 3D
  automatic pipelines for data registration in 2D and 3D
  cryo temperature capabilities required at resolution <1m
Notes: A talk on correlative microscopies will come later

## Slide 39
Future generation facilities should provide correlative microscopy
capabilities to users.
Perspectives on imaging biological samples
Efforts required to exploit all possible multimodal and multiscale
information by correlative approaches.
Available techniques should act as seeds to grow correlative strategies.