## Slide 1: 3SBar: new opportunities at ALBA
Surface Spectroscopy and Structure at 1 bar and beyond (starting 2026)

## Slide 2: Gaps in material science
R. Schlögl, Angew. Chem. Int. Ed. 2015, 54, 2–58
Structural complexity
and chemical composition

## Slide 3: Overview
3SBar will combine ambient pressure X-ray Photoemission Spectroscopy (AP-XPS) at high pressures(1 bar or more) and surface X-ray diffraction (SXRD) at grazing incidence angles. First beamline designed for ALBA II.
BL14
Surface sensitivity
Total external reflection: X-ray depth control
Signal enhancement!
αi<αc
Constructed 31st December 2025

## Slide 4: Why simultaneous complementary methods?
X
y
z
X
y
z
?
?
Same information: result confirmation
Different information: complementary result

## Slide 5: Similar concepts (ALS BL11, soft X-ray beamline)
Slavo Nemsak, RSCI 92, 044102 (2021)
R. Schlögl, Angew. Chem. Int. Ed. 2015, 54, 2–58
Few mbars

## Slide 6: Beamline requeriments (proposal)
Photon energy range: 3 -17 keV
Footprint on sample:
  Along the beam at 0.5o grazing incidence: 900 µm
  Transverse to the beam: 2 µm
Expected Total Electron Energy resolution (photons+electrons):
  At 4 keV (Si(111)) and 100 eV pass energy of analyzer: 0.18 eV,
  At 5 keV (Si(311)) and pass energy 50 eV: 0.13 eV
Photon incidence angle (αi) with respect to sample plane: 0o < αi < 15o
2D Photon detector area and pixel size: ca. 250 x 250 mm2
Working pressure on sample: Up to 3 bar for sample/front-cone gap of up to 20 µm
Working pressure in chamber: 30 mbar maximum
Maximum gas flow: 10 liters/minute
Sample temperature: up to ca. 1000 K, down to 100 K (liquid N2 cooling)

## Slide 7: 3Sbar ID (source)
It has been decided to increase the period length in order to shift the start of the 3rd harmonic (at 5.2mm minimum gap) just below 3keV:
BL | [mm] | gapmin [mm] | Nperiods | Beff [Tesla] | Keff | E3 [eV] | Power @250mA [kW] | Pdens @250mA [kW/mrad2]
XAIRA | 19.9 | 5.2 | 116 | 1.199 | 2.168 | 3846 | 4.47 | 28.7
3Sbar | 21.4 | 5.2 | 107 | 1.241 | 2.479 | 2943 | 5.02 | 29.1
BL |  | gapmin [mm] | Nperiods | Beff [Tesla] | Keff | E3 [eV] | Power @250mA [kW] | Pdens @250mA [kW/mrad2]
XAIRA | 19.9 | 5.2 | 116 | 1.199 | 2.168 | 3846 | 4.47 | 28.7
3Sbar | 21.4 | 5.2 | 107 | 1.241 | 2.479 | 2943 | 5.02 | 29.1
The price to pay to extend the 3rd harmonic down to 3keV is a flux density reduction of ~15% at 5keV
(decrease of the number of periods and lower K values to reach a given energy)
ID: Jordi Marcos

## Slide 8: 3Sbar FE acceptance optimization
The acceptance of the beamline is very reduced, to match the divergence of the emission cone of the ID without accepting useless power.
For ALBA, this represents accepting only 60% of the máximum flux at 3keV
FE: Raquel Monge

## Slide 9: 3Sbar optical layout
VFM
HFM
DCM
VCM
xBPM2
SLIT2
Optical Hutch
Experimental Hutch
DiagOn
Slit 1
FS1,
Grating 1
xBPM1
FSM2
Grating 2
Sample
FSM3
Item | Horz. distance |  | Height
 | to prev | to src | Height
Unit | m | m | m
Source | 0.00 | 0.00 | 1.400
FE | 10.00 | 10.00 | 1.400
VCM | 10.60 | 20.60 | 1.400
DCM | 1.00 | 21.60 | 1.408
DCM-2 | 2.00 | 23.69 | 1.443
VFM | 11.56 | 35.36 | 1.532
HFM | 0.64 | 35.99 | 1.532
Sample | 1.20 | 37.19 | 1.532
Optics: Josep Nicolás
ALBA II
Parameter | Value | Remark
Flux at 5 keV | 1.76x1013 ph/s | Si(311) B4C
Resolution at 5 keV | 128 meV | Si(311)
Spot size on sample | 1.27 x 3.66 µm2 FWHM | ALBA II
Divergence on Sample | 0.76 x 0.30 mrad2 FWHM | ALBA II

## Slide 10: 3Sbar monochromator resolution
Si(311) and Si(333) show the need of the collimating mirror
Resolutions between 100-200 meV accesible in most of the energy range of the beamline
Optics: Josep Nicolás
Si(333) no VCM
Si(333) VCM
Energy [keV]

## Slide 11: 3Sbar endstation
Whole chamber rotation, to set the angle of incidence by rotating around a vertical axis intercepting the sample surface
Goniometer, to azimuthally rotate the samples
Hexapod for sample alignment and sample transfer. Sample positioning (wires, encoders) is off-vacuum.
Sample load-lock and transfer, front-cone exchange
Front-cone exchange access
8
KB mirrors (nanobender)
x-y-z sample positioning and azimuthal rotation for setting diffraction conditions
Main analysis chamber
Commercial 2D X ray pixel detector
Differential-pumping, inside XPS analyzer
Hemispherical photoelectron analyzer
Load-lock and transfer
2D detector movement (y, z)
y
2D detector OFF-VACUUM motion
Critical! We profit from extreme accuracy and robustness in SXRD setups
Enstation design: Nahikari Gonzalez and Alejandro Crisol
Gas dosing and products analysis

## Slide 12: 3Sbar beamline layout
Enstation design: Alejandro Crisol
XALOC
NOTOS
BL14 (Mistral simulated)
Corridor
Optical hucht
Control room (32.6 m2)
VCM
DCM
DCM2
ES
ES2
RACKS & Gases
Cryocooler

## Slide 13: Higher working pressures
Electron scattering in gas phase
X-ray
e-
APXPS
Nozzle
D
d
increasing sensitivity
Ionisation cross section:
J.J. Yeh and I. Lindau, Atomic Data Nucl. Tables 32 (1985) 1.
Inelastic mean free path:
S. Tanuma, J. Powell, D.R. Penn, Surf. Interf. Anal. 21 (1993) 165.
Ionisation cross section
IMFP
3SBar operated in total reflexion
(few nm X-ray penetretation depth)
↓
Enhanced diffraction
and
photoemission signals

## Slide 14: 3Sbar endstation: exchangeable nozzle and reaction cells
Enstation design: Nahikari Gonzalez and Alejandro Crisol
e-
Gas in
Gas in
0.1-10 mbar
Local
High Pressure
D
POLARIS
at PETRA-III
Sample
e-
HV
EC-cell
Electrolyte
ionomeric membrane
e-
HV
EC-cell
Gas-cell
Electrolyte
Gas
e-
X-ray in
SXRD
XPS/XANES
e-
~50 mbar
D
Sample

## Slide 15: Topics and more...
Electroplating
Electrocatalysis
Supercapacitors-EDL
Batteries
Artificial Photosynthesis
Corrosion
  Liquid phase catalyts

## Slide 16: Topics and more...
Nitrogen Fixation

## Slide 17: Selective alkynes semi-hydrogenation to alkenes on Pd catalyst
These reaction routes are essential for example in polymerization processes where the complete elimination of alkynes and diolefins from the alkene feedstocks is the aim. The selective elimination of propyne from a propylene rich stream is important to avoid the poisoning of the polymerization catalysts
CnH2n-2 (gas)
CnH2n (gas)
CnH2n+2 (gas)
Partial selective hydrogenation
Full unselective
hydrogenation
CnH2n-2 (gas)
Low pressures
High pressures
Pd
Pd

## Slide 18: Operando XRD at 1 bar
Velasco-Vélez et al, (2018). Topics in catalysis, 61(20), 2052-2061.
25 mbar
75 mbar

## Slide 19: Operando XPS at 1 bar
MS5 column
C3H8
C3H6
C3H4
H2
He
Velasco-Vélez et al, (2018). Topics in catalysis, 61(20), 2052-2061.

## Slide 20: Oxygen evolution reaction (OER)
Overpotential
Almost ideal (Pt)
*cortesy of Dr. R Garcia-Diez

## Slide 21: Mesoporous IrOx
375°C
500°C
400°C
600°C
350°C
300°C
Dr. R. Krähnert (TU Berlin)
Dr. D. Bernsmeier (TU Berlin)

## Slide 22: Mesoporous IrOx
Pfeifer, V. et al., (2016), Surface and Interface Analysis, 48(5), 261-273.

## Slide 23: In situ EC cell
Manipulator

## Slide 24: Operado EC characterization
Velasco-Vélez et al.,Faraday Dis., 2022, DOI:10.1039/D1FD00114K

## Slide 25: Operando ResPES characterization
Velasco-Vélez et al.,Faraday Discussions, 2022, DOI: 10.1039/D1FD00114K

## Slide 26: µ1-O active species
Velasco-Vélez et al.,Faraday Discussions, 2022, DOI: 10.1039/D1FD00114K

## Slide 27: Thanks!
External experts:
Enrique Ortega (UPV)
Hendrik Bluhm (FHI der MPG)
Slavo Nemsak (ALS)
Robert Seidel (BESSY)
Marco Favaro (BESSY)
Christoph Schlüter (DESY)
Fernando García Martínez (DESY)
Lucia Alianelli (Diamond)
Ray Barrett (ESRF)
Francesco Carlà (Diamond)
Peter Amann (OMICRON/SCIENTA)
Andreas Thissen (SPECS)
Alex Marco Gil (SPECS)
3SBar team:
Juan J. Velasco
Eduardo Solano
Salvador Ferrer
Christopher Goodwin
ID & FE:
Jordi Marcos
Raquel Monge
Optics:
Josep Nicolás
Dominique Heinis
Engineering:
Alejandro Crisol
Nahikari González
Marcos Quispe
…and many more!
Management :
Caterina Biscari
Klaus Attenkofer
Francois Fauth

## Slide 28
In situ XPS approaches
Arrigo, et al., Angew. Chem. Int. Ed., 2013, 52(44), 11660-11664
Casalongue et al, Angew. Chem. Int. Ed., 2014, 53(28), 7169-7172
Pfeifer et al., Chem. Sci., 2017, 8(3), 2143-2149
Kolmakov et al, Nat. Nanotech., 2011, 6(10), 651-657
Velasco-Vélez et al, Angew. Chem. Int. Ed., 2015, 54, 14554-1455
Velasco-Vélez et al, JACS, 2021, 143(32), 12524-12534
Velasco-Vélez et al,Surf. Sci., 2019, 681, 1-8
Frevel et al, J. Phys. Chem. C, 2019, 123(14), 9146-9152
Mom et al, JACS, 2019, 141(16), 6537-6544
Velasco-Vélez et al, ACS En. Lett., 2020, 5(6), 2106-2111
Falling et al, ACS App. Mat. Int., 2020,12(33), 37680-37692
Velasco-Vélez et al.,Faraday Dis., 2022, DOI:10.1039/D1FD00114K
Gas phase
to
liquid phase
Larger area
(fresh spot)
Enhanced stability (beamdamage)

## Slide 29: Endstation geometry considerations
d
Beam
footprint
Angle
Angle
Small beam (~1µm x ~1µm) with divergence of 1.5 mrad i.e. at 10 mm the sample the beam is 15 µm.
We aim to work with nozzle to sample distances of ~ 30 µm!!
r
Polar σ
Polar τ
X
y
z
Azimuthal
αi
αf
θf
Incident beam
Scattered beam
Divergence
Beam
dimensions
Sample

## Slide 30: Timeline
22/06/22:
CDR ID
CDR FE
CDR Optics
01/12/22:
CFT ID
CFT FE
CFT Optics
CFT Mirrors
July 20, 2022:
Optical design external review