## Slide 1: Use coherent optical transition radiation for measurements of the transverse beam size
A. Potylitsyn, L. Sukhikh
Tomsk Polytechnic University
G. Kube
Deutsches Elektronen Synchrotron

## Slide 2
Spectral-angular distribution of COTR from a bunch
- bunch population
- rms sizes of a bunch
Ultra-relativistic case (γ >> 1)

## Slide 3
COTR angular dependence
For large emission angles
COTR is suppressed exponentially, but OTR – as a power one
At the angle
intensity of the COTR and OTR are equal

## Slide 4
Angular distribution of COTR

## Slide 5
OTR optical system
Lorentz-factor γ >> 1
Wavelength λ
Focusing condition →
f is the lens focus distance
Dimensionless variables
- coordinates on the surface of the target (i → T), lens (i → L) and detector (i → D)
Far field is characterized by the parameter R:

## Slide 6
Pre-wave zone
TR field on the lens surface:
TR intensity distribution on the lens surface

## Slide 7
Fields on the detector surface
In the far-field zone:

## Slide 8
Point spread function
(OTR case, on-axis light collection)
θm>> 1/γ
Lens Aperture
CCD

## Slide 9
OTR point spread function
(on-axis light collection + mask)
CCD
Lens Aperture
Mask

## Slide 10
OTR PSF for different masks

## Slide 11
Space distribution of OTR on the CCD (M=1)

## Slide 12
Point spread function
(OTR off-axis case)
θm>> 1/γ
Lens Aperture
Δθ
CCD

## Slide 13
Overlapping of the OTR pattern by a lens

## Slide 14
Displacement of a lens
θm
θm + Δθ

## Slide 15
OTR off-axis PSF

## Slide 16
Airy distribution

## Slide 17
Space distribution of OTR photons (off-axis case) on the CCD (M=1) from a beam with
0

## Slide 18
Focused off-axis OTR yield (γ = 2000)

## Slide 19
OTR photons yield
A number of OTR photons with wavelengths ,
is the filter bandwidth
exact formula
Ultrarelativistic approximation →
Accuracy is better than 3%

## Slide 20
Schwarzschild objective
CCD

## Slide 21
OTR pattern measured by the Schwarzschild objective (data are not published yet)
off-axis
on-axis
off-axis

## Slide 22
PSF for OTR on-axis lens
Simulation of transition radiation based beam imaging from tilted targets/L. G. Sukhikh, G. Kube and A. P. Potylitsyn/PR AB 20, 032802 (2017)

## Slide 23
Beam image (OTR on-axis lens)

## Slide 24
Beam image (OTR on-axis lens)

## Slide 25
PSF for OTR off-axis lens
r0 is the distance between lens axis and OTR minimum on the lens surface

## Slide 26
Beam images (σt = 5μ)

## Slide 27
Beam images (σt = 10μ)

## Slide 28
Summary
For large emission angles COTR is suppressed strongly and the photon yield is caused by OTR process only;
OTR photon yield collected by a lens with a large aperture (~100/γ) displaced at the angle θ0 ≤ 10/γ with respect to the specular reflection direction (off-axis lens) is about one order of magnitude less than for on-axis geometry;
PSF for the off-axis lens possesses the single-maximum shape closed to the gaussian distribution (in contrast with on-axis geometry);
geometry with off-axis light collection can provide more precise beam profile measurements in comparison with the traditional scheme;
off-axis light collection geometry can be used for spatial separation of COTR photons in order to measure a transverse beam size if and