## Slide 1
Josep Nicolas
19th January 2024
New beamlines at ALBA 2

## Slide 2
ALBA
ALBA-II
Low emittance storage ring
The main accelerator of ALBA-II is a low emittance storage ring (i.e. the same flux in a smaller and more collimated source).

## Slide 3
Long beamlines
ALBA main building
- A new low emittance SR
- Upgraded BLs
- New BLs
- …
ALBA-II extension
- New BL (Long)
- New Laboratories

## Slide 4
16
13
20
11
9
6
29
24
22
34
1
31
25
Miras
Xanadu
Mistral
Notos
MSPD*
NCD-sweet
Lorea
CLAESS
Circe
Boreas
Faxtor
20
Minerva
Xaloc
Xaira
Calima
5) BM (1T)
03) BM(3.2T) (150-260 m)
3SBar
14) BM (1T)
23) BM (1T)
28) BM (3.2T)
30) BM (3.2T)
32) BM (3.2T)
8) ID (108-120 m)
Miras
3SBar
Calima
MSPD
BL03
Xaira
BL05
CODI
Mistral
NCD
Xaloc
BL14
CORUS
Notos
Lorea
BL23
Circe
Minerva
BL28
Boreas
BL30
Faxtor
BL32
BL08
CLAESS
Upgrades
New
IDs
BMs
Corus
CoDI
Beamline map of ALBA-II (day 1)
13 IDs = 9+3+1
12 BMs=4+1+7
New
Upgrades

## Slide 5
3SBar
Corus
CoDI
4 new BLs when ALBA-II opens
3SBar
High pressure HEXPES+Surf.Diffraction
Calima
BioSAXS beamline
CoDI
Coherent Diffraction and Nanoprobe for Material Sciences
Corus
Nanoimaging and nanoSpectroscopy for life sciences
Calima

## Slide 6
How BLs have been chosen
All four beamlines have been proposed by ALBA’s user community.
The selection process has been assisted by international reviewers + SAC.
2021-2022 Selection of new normal length beamlines (3SBar, Calima)
2022-2023 Selection of long beamlines (CoDI, Corus)

## Slide 7
Timeline (work in progress)
CODI
CORUS
Upg-MSPD
Calima
3sbar
Design + prototyping
Procurement
Installation
If funding is secured soon

## Slide 8
3SBar
Incoming x-ray beam
Diffracted beam, to Detector,
SXRD
Incoming gas
e-
Sample
analyzer nozzle
The nozzle and its gap to sample must be small, to allow for high pressures atmosphere on sample preserving the vacuum on the analyzer.
A smaller source allows for a smaller spot on sample, the higher brilliance allows doing this without spoiling the coherence length for diffraction.
3SBar will combine X-ray Photoemission Spectroscopy (XPS) at Ambient (1 bar) Pressure (AP-XPS) and surface X-ray diffraction (SXRD) at grazing incidence angles.
“Surface Structure and Spectroscopy at 1 bar”

## Slide 9
XPS analyzer
Load Lock
Sample manipulator
Sample Chamber
X-ray detector
Differential pumping analyzer
Support and motion system(s)
Features and discussion topics
Sample plates / Membrane cells / Electrochemical cells
Gas dosing on chamber / virtual cell / membranes
APXPS nozzle exchangeable
Gas safety
Alignment motions and control
Chamber geometry, Be-Window
3sbar endstation

## Slide 10
Beamline performance (ALBA)
Parameter | Value | Remark
Photon Energy | 3-17 keV | In vacuum undulator
Flux at 5 keV | 7.13x1012 ph/s | Si(311) B4C
Resolution at 5 keV | 126 meV | Si(311)
Spectral Flux at 5 keV | 2.86 x1014 ph/s@0.1%BW | Si(311) B4C
Spot size on sample | 8.6 x 2.4 µm2 fwhm | 
Divergence on Sample | 1.56 x 0.35 mrad2 fwhm | 
Focus Depth | 10.0 mm / 18.8 mm | Rayleigh length

## Slide 11
Beamline performance (ALBA-II)
Parameter | Value | Remark
Photon Energy | 3-17 keV | In vacuum undulator
Flux at 5 keV | 1.76x1013 ph/s | Si(311) B4C
Resolution at 5 keV | 128 meV | Si(311)
Spectral Flux at 5 keV | 6.91 x1014 ph/s@0.1%BW | Si(311) B4C
Spot size on sample | 1.27 x 3.66 µm2 fwhm | 
Divergence on Sample | 0.76 x 0.30 mrad2 fwhm | 
Focus Depth | 3.14 mm H / 21.57 mm V | Rayleigh length

## Slide 12
3SBar beamline project
The beamline project started March ’22
All concept designs finished and reviewed.
All major contracts already in place (ID, FE, Optics, Hutches, Detectors,…)
Detailed mechanical of endstation (+ others) in progress.
Infrastructure installation starts in summer’24
Installation instrumentation starts in spring‘25
Commissioning early ‘26
Collimating mirror
Double crystal Mono
Shutter
Refocusing KB
Endstation

## Slide 13
Calima
Sec. Source Slits
(microfocus mode)
Microfocus unit (CRLs)
Sample position
Sample mounting robot
WAXS
detector
SAXS
detector
Calima is a BioSAXS beamline for ALBA for low-resolution structural analysis of samples in solution. Complementary to high-resolution crystallography BLs
The orientation of BMs beamlines, like Calima, will change in the new SR
Calima will be oriented following the layout of ALBA-II, and will not operate before the dark period.

## Slide 14
Calima Endstation Features
Sample mounting robot (HT-SAXS
Sample holders:
  Capillaries (solution), gels/solid (polymer slice, tissues, pellet), liquids/gels holder, high pressure cell (pressure induce preparation of super crystals) and shear aligning cell (fibre diffraction).
  Temperature-controlled flow cell will be placed in a vacuum chamber.
  Stopped-flow cell
  Novel continuous flow cell for TR-SAXS designed in collaboration with Dr. Ros
  Other cells will also be considered: rheometer, traction cell.
HPLC system for a variety of EC and IEC columns
Laser for photo-activation

## Slide 15
Calima optics
31
 | ALBA (BM) | ALBA-II (superbend)
Standard mode (focus at detector) |  | 
Spot at sample position | 532×520 um2 176×198 urad2 | 532×590 um2 175×175 urad2
Spot at detector position | 174×76 um2 | 23×58 um2
Microfocus mode (focus at sample) |  | 
Spot at sample position | 37×15 um2 425×403 urad2 | 5.3×11 um2 428×425 urad2
Spot at detector position | 1.30×1.24 mm2 | 1.30×1.28 mm2
The source is a BM
ML monochromator
KB for standard focus
CRL transfocator for microfocus

## Slide 16
CoDI and Corus
BL02-CODI
BL03
Main building
Far Experimental Hall
Stream course
(not usable)
BL04-CORUS
CoDI and Corus are both very long beamlines, hard x-ray, devoted to imaging techniques and nano-probe techniques, with a enough space around the sample

## Slide 17
Imaging techniques
“An x-ray beam propagates as a wave: if we can record the amplitude and phase of an expanded wavefront we can numerically backpropagate it to a plane (the sample) where it is sensitive to much smaller features, resulting to effective magnification.”
Wave: Lack of coherence hides the wave behavior of the x-ray beam.
Detectors do not measure the phase of the wavefront. We need to use techniques like Holography, Interferometry, Ptychography, CDI,….
Determining the phase, with sufficient quality, using numerical methods often requires heavy computation.

## Slide 18
Long beamlines allow having large source demagnification preserving a “large” distance around the sample
Optical element
sample
Source
Optical elements could be:
KB mirrors, capillaries (mirrors), Fresnel zone plates, CRLs, Kinoforms,
Nanoprobes

## Slide 19
Correlation length increases with distance
J. Goodman “statistical optics” Ch. 5
area
Incoherent Source
Coherent Source
Pinhole
Most basic example: Young’s Double slit interference
Coherence based experiment
Low coherence
High coherence
Enhanced coherence for hard x-rays

## Slide 20
M1 (mcyl)
M2 (scyl)
Top view
HFM
HXS
VFM
DCM
VXS
IVU19
Sample
Tunel
Exp. Hall
Far Exp. Hall
17.541
42.560
134
249
19.5
19.8
40.0
40.3
230
230.4
230.17
2.5 mrad
2.5 mrad
3.2 mrad
SLIT2
Side view
5.5 mrad
BL02-CoDI: Optical layout
Source
Focusing optics and monochromator
Secondary source
(Stability, spot size tuning)
Refocusing optics and end-station
Their limit acceptance (tunable) enhances coherence

## Slide 21
Diffraction Limit......: 31.62 nm fwhm
Spot size..................: 48.58 nm fwhm
Divergence..............: 1.51 mrad fwhm
Transversal coherence v flux depending on secondary source
105
150
255
343.55
177
VFM
HFM
BL02-CoDI: Spot size and coherence

## Slide 22
 | CoDI
Source | In vacuum undulator (IVU19)
Energy Range | 10 - 30 keV (DCM + MLM)
Spot Size | 30-50 nm
Technique | nanoDiffraction, nanoFluorescence, CDI, Ptychography, Holo-tomography, Bragg-ptychography, Tele-ptychography
Features | 20 m flight tube Laser Heating, High Pressure, Gas dosing, Cryostream, Cryostat… (space around sample for versatile sample environment)
Sample | Micro reactors / Electro chemistry cells for in-situ and operando
Detector | One large area detector (6M type) One small detector mounted on robot arm Multielement SDD
BL02-CoDI
Hard X-ray nanoprobe beamline devoted to Coherent Diffraction Imaging techniques, for in-operando studies in material science.
3D reconstruction and Evolution of strain in a Pt nanoparticle as varying electrode potential. Useful for the design of strain-engineered nano-catalysts
From C. Atlan, et al. Nat. Mater. 23, (2023). https://doi.org/10.1038/s41563-023-01528-x

## Slide 23
Endstation (CoDI)
KB-mirror pair
Fly-tube
Sample manipulator
Detector robot
Detector
Plinth
Endstations for CoDI include
- Sample positioning (hexapods, scanners)
- Detectors (Pixel detectors, Fluorescence, Izero)
- Sample environment (gases, cryogenics…)
Lightweight, speed and compactness are required.
Watchmaker mechanics.
Up to 20 m

## Slide 24
 | Corus
Source | In vacuum undulator (IVU19)
Energy Range | 10 - 27 keV (DCM + MLM)
Spot Size | 20-50 nm
Technique | 3D-nanoXRF, XANES (STXM) Holo-tomography (Full Field)
Features | LN2 cryogenics, 180º Rotation, XY mapping UHV, Visible microscope
Sample | Multi-sample shuttle system
Detector | Nanospec:: Two Multielement SDD, Diode NanoImag: Two Multielement SDD, sCMOS Area detector.
BL04-Corus
Determination of intra-cellular location of Ir in breast cancer cells. Imaging at nm-resolution with chemical sensitivity.
Hard X-ray nanoprobe beamline devoted to spectral Imaging and tomography for life sciences.
From Conesa et al. Angew Chem Int Ed Engl 2020, 59 (3), 1270-1278. DOI:10.1002/anie.201911510.

## Slide 25
M1 (mcyl)
M2 (scyl)
Top view
HFM
HXS
VFM
Side View
VXS
IVU19
Tunel
Exp. Hall
Far Exp. Hall
17.541
42.560
173
292
19.5
19.8
41.5
41.8
275
275.4
275.17
MLM
21
2deg
HXS
nanoSpec
DCM
nanoImag
BL04-CORUS: Optical layout
Sample
Source
Focusing optics and monochromator
Secondary source
Refocusing optics and end-station

## Slide 26
Corus nanoImag Optics
80
40
120
165
VFM
HFM
80
202.5
122.5
plano-elliptic mirrors
Graded multilayer coating
Rmin ~ 10 m
Length >80 mm
Figure Errors < 1 nm, < 50 nrad
Transversal acceptance < 1 mm2
The intended nanoprobes represent a challenge, first in optics
Spot size <25 nm fwhm
Limited by figure error
Depth of focus < 10 µm
Distance to sample <40 mm

## Slide 27
Corus Endstations
Detector
KB mirrors
XRF detector
Sample positions
Sample
Cryogenic stage temperature
XRF detector
CORUS nanoImag
CORUS nanoSpec
Detector
KB mirrors
XRF detector
Sample
Cryogenic stage temperature
XRF detector

## Slide 28
If funding is secured soon
Timeline (work in progress)

## Slide 29
Many challenges ahead
Nanometer stability
Nanometer positioning accuracy
Vibration isolation (traffic+pumps+…)
Drift compensation along 200 m
Temperature, humidity stability
Feedback positioning systems
Nanometer resolution
Nanometer guidance errors
Fast actuators
∆T = 0.006 ºC in 12 h
Runout ±32 nm

## Slide 30: Thanks!