## Slide 1
CIRCE beamline at ALBA variable polarization soft x-rays for advanced photoelectron spectroscopy & microscopy

## Slide 2
M1
M2
GR
M3a
XSa
M3b
XSb
M4b
NAPP
KB
4J
M1
M2
GR
M3a
KB
XSa
M3b
Top view
XSb
M4b
4J
PEEM
NAPP
PEEM
Side view
refocusing
branching
plane
grating monochromator
APPLE II
undulator
CIRCE layout

## Slide 3
CIRCE layout

## Slide 4
90 - 2000 eV (3 exchangeable plane gratings)
precision
“exit” slit
M2
GR
RM2
RGR
q
M2
q
GR
plane grating monochromator

## Slide 5
demagnification ~ 4:1 H x 6:1 V
variable curvature (down to 44m mirror radius): variable spot size
KB refocusing mirrors

## Slide 6
PEEM branch
flux (ph/s)
resolution
CIRCE performance
FWHM = 3.2 x 36 mm2 (V x H)
energy stability < 0.1 eV
E/DE (20um) = 7000

## Slide 7
Ekin= hn – Ebinding- F
hn
e-
monochromatic
e-
e-
known photons
energy, polarization, incidence angle
+
analysis photo-electrons
energy, angle, (spin)
+
conservation rules
energy, momentum
”
sample properties
composition
chemical state
depth profile
electronic structure
magnetic properties
surface sensitive
Photoelectron spectroscopy

## Slide 8
Entrance slit
into hemisphere
Aperture 1
Aperture 2
Differential pumping sections
2
3
1
Gap ≤ 1 mm
Sample
NAPP principle

## Slide 9
scan hn: XAS, NEXAFS CHEMICAL contrast
variable polarization: XCD, XLD ORIENTATION contrast (e.g. magnetic)
+ electron energy analyzer: XPS SURFACE sensitivity, VALENCE BANDS
 chromatic aberration
+ electron gun: LEEM real time TOPOGRAPHY
diffraction: PED, LEED surface structure
x-rays
sample
screen
e-
objective
lens
projective
lens
backfocal
plane
PEEM principle
electron optics

## Slide 10
Th. Schmidt et al, Surf. Rev. and Lett. 5, 1287 (1998)
LEEM < 10nm
PEEM < 10nm
XPEEM < 30nm
DE < 0.2 eV
100 K < T < 2100 K
PEEM scheme

## Slide 12
in-situ heterogeneous catalysis
oxidation and corrosion processes
liquids in equilibrium with vapor pressure
liquid-liquid and liquid-solid interfaces
electrolytes, fuel cells
aerosols: radiation sensitive materials
applications NAPP

## Slide 13
first NAPP results

## Slide 14
chemistry of heterogeneous systems/processes
surfaces and thin films: film growth, phase transitions, structural domains, strain
nanostructures, materials science
magnetism: domain structure, multilayers, magnetic structure of low dimensional systems
limitations: UHV, samples relatively flat & conductive
applications XPEEM

## Slide 15
Magnetic (XMCD) imaging with 20 nm lateral resolution
chemical contrast
magnetic contrast
XMCD image highlights structures with magnetization along the beam direction (white) and
the structures with magnetization ┴ to the beam disappear into the background (gray)
NiFe nanostructures with magnetization along their long axes
Si background
Fe L3
Sample courtesy of P. López-Barberá & J. Nogués (ICN Barcelona) and J. Perron & L. Heydermann (PSI Switzerland).
Fe L3
some PEEM results

## Slide 16
Magnetic spectromicroscopy on submicrometer islands
M. A. Niño, IMDEA Nanociencia
Fe-L edge
XMCD-PEEM scans: a spectrum can be obtained
from each pixel
some PEEM results

## Slide 17
MEM image:
- SrO/TiO2 areas
- steps
Self assembled distinct termination
areas on SrTiO3(100):
XPEEM spectromicroscopy at min electron escape depth confirms surface SrO vs TiO2
J. Fontcuberta, C. Ocal, E. Barrena, S. Matencio (ICMAB), Oct 2012
Work function difference from MEM-LEEM transition shift < 70 meV
AFM: topography (left) & lateral force (right)
some PEEM results

## Slide 18
WITH CRUCIAL SUPPORT FROM ALL THE DIVISIONS
Carlos Escudero, BL Postdoc
Michael Foerster, BL Scientist
Virginia Pérez-Dieste, BL Scientist
Fulvio Becheri, BL Controls
Nahikari González, BL Engineer
José Prieto, BL Technician
Josep Nicolás, Transversal Support Section Head
Eric Pellegrin, Physics Section Head
Juan Reyes, Visiting Student
and…
thanks