## Slide 1: Picking up the 100th RF harmonic
Guenther Rehm
DEELS15, Barcelona

## Slide 2: Bunch Length and Spectrum

## Slide 3: Visible light spectrum

## Slide 4: Bunch Length from Two Frequencies

## Slide 5: Harmonic Mixer 50-75GHz
Worked fine OK but:
FSU does not allow FFT only sweep with external mixer
A very costly instrument that needed to be in the tunnel to supply the LO at 6.25GHz.

## Slide 6: Harmonic Mixer 50-75GHz
Works fine, once you have supplied 10MHz reference to lock with the machine RF
80MS/s 0-40MHz internal DDC
Streaming via Ethernet

## Slide 7: 50GHz mixed down to 745kHz
Mains sidebands
250mA
300mA

## Slide 8: Next steps
Need chose LO so that both 8th and 10th harmonic are within a few 100KHz
Need to get data from NETSDR into something with processing capabilities (MATLAB or GNUradio)
Lock-in in on the two lines, measure there power, calculate bunch length
Possibly use two harmonic mixers to get larger frequency separation