## Slide 1: PETRA III 2019
Operation and Upgrade
Michael Bieler
ESLS XXVII, Barcelona, 28.11.2019

## Slide 2: Agenda
1 PETRA III Overview
PETRA III Operation 2019
3 PETRA IV

## Slide 3: PETRA III Overview
2.3 km circumference
6 GeV electrons
20 damping wigglers
19 (+ 6) undulator beamlines
1 nm rad x 10 pm rad
100 mA
TopUp operation, 1% beam current variation

## Slide 4: PETRA III Overview
Max von Laue Hall:
1/8 of the circumference of PETRA III
8 double bend acromat cells
14 undulator beamlines:
  2 m Undulators: 11
  5 m Undulators: 3 (2+1)
  5 m Apple Undulator: 1

## Slide 5: User Operation 2019
 | Service Week | 
 | Sunday (User Run) | 
 | Userrun | 
MDT | Machine Development | 
External users from March 11 to July 14
and from Aug. 5 to Dec. 19.
4752 hours for users in 2019, 4944 in 2020.

## Slide 6: User Operation 2019
Summer Break 2019: 3 GeV
2 weeks at 3 GeV:
smaller emittance
tests for PETRA IV (instrumentation, users)

## Slide 7: User Operation 2019
July: Beam Current increased
(480 bunch mode only)
Beam Current / mA
480 / 40
Bunches
40
Bunches
480
Bunches
480
Bunches
3
GeV
Exploring higher power levels at the user side

## Slide 8: User Operation 2019
Chart: 
| TIMING 40 | TIMING 60 | CONT 240 | CONT 480 | CONT 960
 | 0.56748 | 0 | 0 | 0.43252 | 0
User Run 2019
Scheduled time: 4752 h
57 % Timing Mode (40 Bunches)
Availability 98.5 % (as of Nov. 25nd)
2 bunch patterns used:
Timing Mode
  40 bunches, 192 ns
Continuous Mode
  480 bunches, 16 ns
40 bunches
480 bunches

## Slide 9: Availability 2019
Chart: PETRA III Availability 2019
| 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51
AV_W | 99.1201 | 99.6875 | 100 | 97.4421 | 100 | 99.1818 | 98.8718 | 99.6759 | 98.8194 | 98.3796 | 98.7384 | 97.0139 | 60.7143 | 99.0262 | 97.6505 | 99.1319 | 98.206 | 100 | 100 | 0 | 0 | 97.7019 | 90.0694 | 97.6852 | 99.213 | 100 | 98.2505 | 100 | 99.7106 | 100 | 100 | 98.2609 | 100 | 97.7199 | 98.8542 | 100 | 100 | 100 | 0 | 0 | 0
TARGET | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98
AV_Y | 99.1201 | 99.388 | 99.5843 | 99.0641 | 99.2469 | 99.2424 | 99.2143 | 99.2807 | 99.2227 | 99.1285 | 99.0893 | 98.8998 | 98.7311 | 98.7468 | 98.6599 | 98.6945 | 98.6611 | 98.7469 | 98.7507 | 98.7507 | 98.7507 | 98.6809 | 98.1967 | 98.1694 | 98.2222 | 98.2266 | 98.2279 | 98.3086 | 98.3697 | 98.4378 | 98.441 | 98.4329 | 98.4929 | 98.4644 | 98.4783 | 98.5305 | 98.533 | 98.5389 | 98.5389 | 98.5389 | 98.5389
weekly average
goal
yearly average
Studies,
Testruns
98,5 %
Service Week
2018:
96,37 %
Power Glitch
as of Nov. 25

## Slide 10: Availability 2019
Chart: PETRA III MTBF 2019
| 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51
MTBF_W | 2.2164 | 1.9938 | 6 | 1.1693 | 6 | 1.1365 | 0.89259 | 1.9935 | 1.4823 | 1.4757 | 1.1849 | 0.97014 | 0.059028 | 1.2241 | 1.4648 | 2.974 | 1.4731 | 6 | 0.29167 | 0 | 0 | 1.3108 | 1.0808 | 2.9306 | 2.9764 | 0.29861 | 2.197 | 6 | 2.9913 | 6 | 0.29167 | 0.94167 | 6 | 1.4658 | 1.9771 | 2.9948 | 0.29167 | 3.3299 | 0 | 0 | 0
MTBF_Y | 2.2164 | 2.5261 | 3.7261 | 2.7197 | 3.3863 | 3.275 | 2.9523 | 2.9577 | 2.7846 | 2.662 | 2.4652 | 2.2409 | 2.102 | 2.0859 | 2.0748 | 2.1795 | 2.1634 | 2.3134 | 2.3206 | 2.3206 | 2.3206 | 2.2586 | 2.183 | 2.2581 | 2.332 | 2.3379 | 2.3748 | 2.4901 | 2.556 | 2.6692 | 2.6748 | 2.5145 | 2.6162 | 2.5841 | 2.5961 | 2.6483 | 2.6528 | 2.7135 | 2.7135 | 2.7135 | 2.7135
Studies,
Testruns
Service Week
as of Nov. 25
65 h
2018:
51 h

## Slide 11: Availability 2019
Chart: 
| RF | PS | WK | IL | VAC | INST | SAFETY | OP | LINAC | UNKNOWN | SEKI | POWER_GLITCH | DESY | FEEDBACK | TIMING | PIA | LONG_INST | INTL | EXP | SCHEDULED
SUM FAILURE TIME | 0.096528 | 0.25139 | 0.055556 | 0 | 0.015972 | 0.013889 | 0.052083 | 0.10139 | 0.32014 | 0.098611 | 0.30833 | 1.0306 | 0.086111 | 0.030556 | 0.013194 | 0.026389 | 0 | 0 | 0.077083 | 0.048611
as of Nov. 25
10 h lost by 1 incident

## Slide 12: Availability 2019
Saturday, 17.8.2019,
10 kV supply for RF transmitter:
10:05 AM: 1 phase shorted to ground,
transmitter runs on 2 phases for 1.5 hours.
11:33 AM: 3 phases shorted to ground for 80 ms, DESY wide power glitch.
10 kV cabinet
Voltage / kV
Current / kA
Root cause: Loose cables

## Slide 13: Availability 2019
Chart: 
| RF | PS | WK | IL | VAC | INST | SAFETY | OP | LINAC | UNKNOWN | SEKI | POWER_GLITCH | DESY | FEEDBACK | TIMING | PIA | LONG_INST | INTL | EXP | SCHEDULED
SUM FAULTS | 4 | 8 | 2 | 0 | 1 | 2 | 1 | 3 | 5 | 6 | 7 | 12 | 2 | 3 | 1 | 1 | 0 | 0 | 6 | 1
Power Glitches
Magnet Power Supplies
Kickers
Users / Beam lines
Unknown
….

## Slide 14: Availability 2019
Chart: 
| RF | PS | WK | IL | VAC | INST | SAFETY | OP | LINAC | UNKNOWN | SEKI | POWER_GLITCH | DESY | FEEDBACK | TIMING | PIA | LONG_INST | INTL | EXP
2013/14 | 11.3548 | 3.2688 | 0.34409 | 0 | 0.68817 | 0.68817 | 0.17204 | 1.3763 | 0.86022 | 1.2043 | 0.34409 | 1.0323 | 1.3763 | 0.17204 | 0.68817 | 0.17204 | 0.17204 | 0.86022 | 2.0645
2015 | 6.5522 | 2.883 | 3.1451 | 0 | 0.26209 | 0.52418 | 0 | 3.1451 | 1.5725 | 3.9313 | 1.8346 | 2.6209 | 0.26209 | 0.78627 | 0.26209 | 0.26209 | 1.3104 | 0 | 0.78627
2016 | 8.3691 | 4.0715 | 0.45239 | 0 | 0.67858 | 0.22619 | 0.22619 | 0.67858 | 0.22619 | 1.131 | 0.45239 | 1.5834 | 2.2619 | 1.131 | 0 | 0 | 0 | 0.45239 | 2.0357
2017 | 5.4993 | 4.2495 | 0.24997 | 0 | 0.74991 | 0 | 0.24997 | 1.7498 | 0.99988 | 0.99988 | 0.49994 | 1.2498 | 0.74991 | 0.99988 | 0.99988 | 0.24997 | 0 | 0.24997 | 2.4997
2018 | 3.0726 | 3.7816 | 0 | 0 | 0.70905 | 0.4727 | 0.23635 | 0.23635 | 0.70905 | 1.1818 | 0 | 2.1272 | 0.4727 | 1.1818 | 1.1818 | 0.23635 | 0 | 0.4727 | 2.3635
2019 | 1.1236 | 1.9663 | 0.5618 | 0 | 0.2809 | 0.5618 | 0.2809 | 0.5618 | 0.8427 | 1.6854 | 1.9663 | 3.0899 | 0.5618 | 0.8427 | 0.2809 | 0.2809 | 0 | 0 | 1.4045
Improvements over the years

## Slide 15: PETRA IV
PETRA IV:
2 new experimental halls
4 undulator cells in the long straight sections
H7BA – ESRF-EBS style lattice
8 cell / arc
26.2 m cell length. Beamlines have to be moved/adapted to the new lattice layout
option: canted beamlines
on-axis injection with fast kickers
500 MHz RF + higher harmonic cavity
vacuum system, 20 mm inner diameter
magnets, bore radius 13 mm

## Slide 16: PETRA IV
Parameter | Value (with 29 IDs)
Energy E | 6 GeV
Length L | 2304 m
Tune Qx/Qy | 164.18 / 68.27
Nat. chromaticity ξx/ξy | -230 / -185
Damping part. number Jx | 1.24
Nat. emittance x | 7 pm*rad
MCF αc | 1.48e-5
Energy spread e | 0.92e-3
Energy loss per turn U0 | 4.0 MeV
Notes: (lattice version 15.7)
Zero-current values – without IBS!
3 halls, no canting!
Design Parameter | PETRA IV | 
Energy / GeV | 6 | 
Circumference /m | 2304 | 
Emittance (horz. / vert.) /pm | < 20 / 4 | <50 / 10
Total current / mA | 200 | 80
Number of bunches | 1600 | 80
Bunch population / 1010 | 0.8 | 6
Bunch separation / ns | 4 + gaps | 96
Timing Mode
Brightness Mode
on axis injection, 96 ns timing structure
20 bunches (76 ns + 20 ns gap)
1 bunch
Parameter | Reference | Brightness mode | Timing mode
Bunch current /mA | 0.01 | 0.125 | 1
Hor. emittance /pm rad | 7.37 | 11.6 | 19.21
Ver. emittance /pm rad | 1.47 | 2.32 | 3.84
Bunch length /mm | 11.7 | 13.7 | 19.3
Bunch length /psec | 39.1 | 45.7 | 64.3
Energy spread / 10-3 | 0.914 | 0.963 | 1.562
Touschek lifetime / h | 49.4 | 4.7 | 1.2
Design goals achieved !
(with IBS + collective effects, Harmonic cavity)

## Slide 17: PETRA IV
TDR Phase defined from the project phase
Goal: 1) bring PETRA IV onto the national roadmap
of large-scale research facilities
2) TDR 12’2022
Presently: CDR completed

## Slide 18: Thank you

## Slide 19
Michael Bieler
MBB
Bieler@desy.de
+494089983805