## Slide 1
Experimental capabilities (Users)
LEEM:
LEEM I-V, wf contrast (MEM-LEEM)
In-situ growth/surface preparation
μ-LEED and dark field LEEM
PEEM:
Spectromicroscopy and micro-spectroscopy (XAS, XPS) down to 20 nm
Dichroic contrast (XMCD, XLD)
μ-ARPES (energy resolution ≈ 100 meV)
Functional sample environments
Research Interests (in-house)
Nanomagnetism and spintronics
> Magneto-elastic effects
Surface science
> in-situ reactive MBE
(L. Aballe, M. Foerster, A. Mandziak, W. Khaliq, S. Ruiz)
ICMAB collaborators/users
J. Fontcuberta
E. Barrena & C. Ocal
I. Fina
F. Macia
F. Sandiumenge

## Slide 2
Soft x-rays (100- 2000 eV)
Fully variable polarization (APPLE II undulator)
High flux (~1013 ph/s) & resolution (E/DE~7000)
Small spot (~20 um)
PhotoEmission Electron Microscopy - PEEM
Near Ambient Pressure Photoemission - NAPP
CIRCE: Photoemission spectroscopy and Microscopy

## Slide 3: PEEM: sample environment
Microscope chamber:
150 K < T < 2100 K
Azimuthal rotation
Small E and B fields
Metal evaporation
Gas exposure < 10-6 mbar
Mass spectrometer
Preparation chamber:
300 K < T < 2100 K
Ion sputtering, Gas exposure < 10-3 mbar
Metal & organics evaporation
Mass spectrometer
Fast load-lock
UHV sample parking
Docking station for vacuum suitcase
YOUR SAMPLE:
UHV compatible
Flat
Conductive
  The ALBA spectroscopic LEEM-PEEM experimental station: layout and performance L. Aballe et al., J. Synchrotron Rad. (2015). 22, 745-752
3

## Slide 4: Sample holders
4
Temperature
Magnetic fields
Electrical signals
Combinations
In progress: HF
M. Foerster et al., Ultramicroscopy 171, 63 (2016)
A. Mandziak et al., submitted

## Slide 5: PEEM (LEEM) in a nutshell
x-rays
Photoemission
(electron escape -> info depth 1-10 nm)
e-
Electron optics:
imaging
Diffraction (ARPES)
dispersive (XPS)
X-ray beam:
tunable hv (XAS)
tunable polarization (XMCD, XLD)
Accl. HV
sample
objective
lens
screen
5
e-gun

## Slide 6: μ-LEED and Dark Field imaging
(M. Ewert et al., Nanotechnology 27, 325705 (2016) )
6
L. Martín-García, R. Gargallo, J. de la Figuera et al, Phys Rev B91, 020408(R) (2015)
CoGe on Ge
Fe3O4

## Slide 7
G/SiC
LEEM 10mm
m-PED
Graphene characterization
(e.g. in R. A. Bueno et al., Appl. Sur. Sci. 466, 51 (2019)
XPS-PEEM
7
NaCl/G/Ir
(I. Palacio et al., 2D Materials 6, 025021 (2019)
ARPES

## Slide 8: Spectromicroscopy (XPS) correlated with Raman
5 µm
Graphene and ZnO on cooper foil
C. Morales, L. Soriano, et al., in preparation

## Slide 9
Antiferromagnetic domains (XMLD)
(A. Mandziak et al., Sci. Rep. 9, 13584 (2019) )
In-situ grown NixCo1-xO

## Slide 10
Example: Magnetic skyrmion, resolving chiral Néel walls
(O. Boulle et al, Nat. Nano. 11, 449 (2016))
3D magnetic information
S. Ruiz-Gómez et al., Nanoscale 10, 5566 (2018)

## Slide 11
Example: Observation of transverse domains ( C. Bran et al., Phys. Rev. B 96, 125415 (2017) )
Example: Correlation of DW pinning sites with chemical notches (Absorption contrast) ( S. Ruiz-Gómez et al., Sci. Rep. 8, 16695 (2018) )
Transmission geometry (shadow PEEM) for depth profiling
Beyond the “standard” information depth
1-10 nm (electron escape)

## Slide 12
Time resolved: dynamic magnetoelastic effect (driven by SAW)
B. Casals et al., PRL submitted
Domain wall motion: 270 ps
Coherent rotation: 90 ps
M. Foerster et al., Nat. Comm. 2017

## Slide 13
Many thanks for your attention and looking forward to see you at CIRCE-PEEM.
ICMAB 2011
1st CIRCE beamtime
2012

## Slide 16: In-situ growth in LEEM
L. Martín-García, A. Quesada, J. de la Figuera, et al. (IQFR-CSIC & ICV-CSIC)
Reactive MBE & LEEM
Fe & Co co-evaporation
Ru(0001) @ 780℃
10-6 mbar O2
16

## Slide 17
LEEM 10mm
XMCD-PEEM
m-LEED
L. Martín-García, A. Quesada, J. de la Figuera, et al. (IQFR-CSIC & ICV-CSIC)
Adv. Mat., DOI: 10.1002/adma.201502799 (2015)
in situ growth & characterization
Antiphase boundary free cobalt ferrite (CFO) single crystal islands with large magnetic domains
17

## Slide 18
Example: Combining images under different azimuthal beam incidence to obtain 3D vector magnetization in Fe3O4 islands
(S. Ruiz-Gómez et al., Nanoscale 10, 5566 (2018)
3D magnetic information

## Slide 19
19
OErsted field associated with current pulse favors Bloch Point Domain Walls (BPW) over Transverse-Vortex Wall type.
BPW topology, unique to cylindrical NWs, protects against Walker breakdown, permitting speeds > 600 m/s .
Example: DW transformation under current driving
(M. Schöbitz et al, PRL 123, 217201 (2019)
3D magnetic information: transmission/shadow
….. with current injection

## Slide 20: Spectromicroscopy
“spectroscopy with spatial resolution” (pixel by pixel)
“images with spectral contrast”
20
L. Aballe, S. Matencio, M. Foerster, E. Barrena, F. Sánchez, J. Fontcuberta, and C. Ocal, Chem. Mater. 2015
SrTiO3

## Slide 21
Surface magnetic moments of √2×√2R45°-Fe3O4(001)
L. Martín-García, R. Gargallo, J. de la Figuera et al, Phys Rev B91, 020408(R) (2015)
LEEM mspot-LEED dark field LEEM:
Multi-technique surface analysis
XMCD-PEEM XMLD-PEEM XPEEM
21